STANDARD FEATURES

All Permits

Concrete Driveway

All Hook-up Fees

Landscaping (Design by Developer)

1 Bedroom

1 Car Garage

Insulated Slab Foundation 3,500 PSI Concrete w/ Wire at Perimeter

2x6 Exterior Walls 16" O.C. 7/16 OSB Sheeting w/ House Wrap

2x4 Interior Walls 16" O.C.

Pre-Engineered Roof Trusses 24" O.C. 5/8 OSB Sheeting w/ H Clips

30 Yr. Architectural Roof Shingle, Ice & Water @ Eves, Synthetic     Underlayment, Continuous Ridge Vent, Color by Owner

Pella Encompass Vinyl Exterior Windows w/ Screens, Color – White

(1) Fiberglass Front Door, Pre-painted White

(1) Fire-Rated Door between House & Garage, Pre-painted White

Insulated Steel 9'x7' Garage Door w/ Opener and Glass, Color – White

Mastic Ovation .042 Vinyl Siding, Standard Color

Vinyl Shakes @ Garage Gable, Standard Color

Aluminum Fascia & Soffit w/ 12" Overhangs, Color - White

Porch Ceilings:  Vinyl, Color - White

Manufactured Stone under Front Porch Wall, Color by Owner

Seamless Gutters & Downspouts, Color – White

Rough Electric to Plan, 2 Outside Receptacles, 2 Phone & TV Jacks

200 AMP 40 Circuit Electrical Panel

Media Center

Rough Plumbing Per Plan

DWV, PVC, PEX Supply Lines, 2 Outside Hose Bibs

2 Ton Geothermal Heating & Cooling System

Humidifier, 1 Zone, (1) 50 Gallon Hot Water Heater

Insulation: Blown-In Fiberglass:   R-13 Garage Walls; R-23 Exterior Walls, R-21 Garage Ceiling; R-49 House Ceiling

1/2" Drywall, Exterior & Interior Partitions; 5/8" Drywall – Ceilings

Paint – Drywall: 2 Coats, 1 Color Flat Latex Paint, Color by Owner

Interior Doors – 6 Panel Masonite, Painted White

Interior Trim – MDF Board Colonial Casing & Base, Painted White

Closet Maid Closet Shelving, Per Plan

Lakeview Kitchen & Bath Cabinets – Oak or Birch / Level 1 Door Style w/ Laminate Counter Tops

Energy Star Appliances – Double Door Refrigerator w/ Water & Ice Maker; Flat Surface Range, Whisper Quiet Dishwasher; Microwave/Hood Vent: Colors – White or Black

Complete Electrical Fixture Package:  Color – Chrome

Complete Plumbing Fixture Package: Chrome Vanity Tops, Cultured Marble or Level 1 Granite

Tub / Shower, Sink & Toilet – White

Flooring – Laminate in Living Rm/Dining Rm/Kitchen, Hallway & Bathroom (s). Carpet Bedroom (s), Color by Owner

Labor to Perform the Above

OPTIONS         	                                                                                                                                                      			 		                                                    $7,500.00

2 Bedroom, 2 Bath Model	$25,000.00

3 Bedroom, 2 Bath Model	$35,000.00

2 Car Garage                                                              $15,000.00

Pella 250 Series Window & Door Package              $2,500.00

Gas Fireplace & Stone Surround                             $7,000.00

Kitchen Island w/ Formica Top 24” x 48”               $3,000.00

Kitchen Island w/ Granite Top 24” x 48”                $4,000.00

Granite Kitchen and Vanity Tops                            $2,500.00

Stainless or Black Stainless Appliances                   $750

Tile Kitchen Backsplash 	$1,500

Maple, Cherry or Hickory Kitchen		$1,000.00

& Bath Cabinets	$2,500

Painted Cabinets: Kitchen & Bath                           $3,500

4’ or 5’ Tiled Shower with Sliding Glass Door        $6,000		$1,000.00

Pine Cathedral Ceiling – Kitchen, Living

And Dining Room	$5,000

Drywall Cathedral Ceiling – Kitchen, Living

And Dining Room	$4,000

Central VAC 2 Outlets	$3,000

Attic Over Garage	$3,000

22KW Automatic Generator System	$8,500

(LP Tank & Gas Lines Not Included)

Generator Hook Up (Generator Not Included)	$600

Floor Receptacle                                    Each:	$400

Laminate Flooring in Bedrooms	$2,000

In-Floor Heat (Floor Warmers)	$12,000

Screened In Porch	$4,000

Sunroom 16’x12’ w/ Drywall Interior Walls,  	$12,000

Laminate Floor, Flat Ceiling, (4) 3 x 5 Windows

Sunroom Option:  Pine Cathedral Ceiling:             $1,500

Sunroom Option:  Drywall Cathedral Ceiling:       $1,000

8’x44’ Side Concrete Patio	$4,000

8’x44’ Side Porch	$15,000

3’x38’ Concrete Sidewalk	$2,000

Under Cabinet Lights	$500

Eco Siding Package Painted                                      $10,000

Mastic Carved Wood Siding .044                             $1,500

Premium Siding Colors	$750

Vinyl Railing – Front Porch                                      $1,200

Vinyl Railing – Side Porch                                        $3,000

Ceiling Fan                                                                  $400

Paint - Each Extra Color                                           $300

Grab Bars in Bathrooms                         Each:         $100

Barn Door                                                 Each:         $750

Fusion Enhanced Flooring                                         $1,500

Satin Nickel or Oil Rubbed Bronze:

Electrical & Plumbing Package                              $750

Framing Lumber Package (Market Price)               $10,000				$8,000

(All Pricing Subject to Change without Notice)

*** Base lots #26-33 and #37-44 $40,000.00. Upgraded lots #1-25 and #34-36 $50,000.00.

55+ Community

Located In Benton, PA

Phone:  570-925-2077

Website:  www.baileypark55.com

Innovative Building & Design, Inc.

4/1/2021 ~  Subject to Change Without Notice

# Text boxes

Bailey Park Standard Features & Options

Starting at $189,900 Standard Features on Base Lot